## Sheet 1
WBS_1 | WBS_2 | WBS_3 | WBS_4 | DESCRIPTION | UNIT | QTY | MAT | LAB | TOTAL | AMOUNT
PRELIMINARIES | Office | Office | Office | Site office | Ls. | 1 | 2500000 | 0 | 2500000 | 2500000
PRELIMINARIES | Labor Camp | Labor Camp | Labor Camp | Labor camp | Ls. | 1 | 10000000 | 0 | 10000000 | 10000000
PRELIMINARIES | Temp.Fence | Temp.Fence | Temp.Fence | Temp.Fence | Ls. | 1 | 500000 | 0 | 500000 | 500000
PRELIMINARIES | Other | Other | Other | Other | Ls. | 1 | 2500000 | 0 | 2500000 | 2500000
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Piling | 1.00m dia. pile cut-off. | No. | 106 | 335 | 1730 | 2065 | 218890
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Piling | 1.20m dia. pile cut-off. | No. | 70 | 335 | 2120 | 2455 | 171850
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Piling | 1.50m dia. pile cut-off. | No. | 2 | 450 | 3460 | 3910 | 7820
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Piling | Pile head disposal, off-site. | No. | 178 | 0 | 1325 | 1325 | 235850
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Excavation to footing | M3 | 15008 | 0 | 110 | 110 | 1650880
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Remove excavation material, off-site | M3 | 6837 | 0 | 70 | 70 | 478590
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Back fill by existing soil. | M3 | 8165 | 0 | 110 | 110 | 898150
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Existing grade compaction | M2 | 0 | 0 | 35 | 35 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Compacted sand, 50 100 mm thick | M2 | 820 | 95 | 15 | 110 | 90200
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Lean concrete, 50 100 mm thick | M2 | 820 | 165 | 70 | 235 | 192700
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Concrete 320ksc. cylinder test | M3 | 1858 | 1985 | 265 | 2250 | 4180500
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Formworks | M2 | 1220 | 195 | 260 | 455 | 555100
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Rebar SR24, 9mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Rebar SD40, 12mm dia. | KG. | 279 | 22.5 | 5 | 27.5 | 7672.5
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Rebar SD40, 16mm dia. | KG. | 27341 | 22 | 5 | 27 | 738207
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Rebar SD50, 20mm dia. | KG. | 10179 | 22.5 | 4.5 | 27 | 274833
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Rebar SD50, 25mm dia. | KG. | 89151 | 22.5 | 4.5 | 27 | 2407077
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Rebar SD50, 28mm dia. | KG. | 178586 | 22.5 | 4.5 | 27 | 4821822
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Rebar SD50, 32mm dia. | KG. | 108769 | 22.5 | 4.5 | 27 | 2936763
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Foundation [F1-F12] | Allow for Shear Key | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Excavation to footing (Include in F1,F2) | M3 | 0 | 0 | 110 | 110 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Remove excavation material, off-site (Include in F1,F2) | M3 | 0 | 0 | 70 | 70 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Back fill by existing soil. (Include in F1,F2) | M3 | 0 | 0 | 110 | 110 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Existing grade compaction | M2 | 0 | 0 | 35 | 35 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Compacted sand, 50 100 mm thick | M2 | 400 | 95 | 15 | 110 | 44000
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Lean concrete, 50 100 mm thick | M2 | 400 | 165 | 70 | 235 | 94000
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Concrete 320ksc. cylinder test | M3 | 1077 | 1985 | 265 | 2250 | 2423250
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Formworks | M2 | 228 | 195 | 260 | 455 | 103740
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Rebar SR24, 9mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Rebar SD40, 12mm dia. | KG. | 0 | 22.5 | 5 | 27.5 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Rebar SD40, 16mm dia. | KG. | 2035 | 22 | 5 | 27 | 54945
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Rebar SD50, 20mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Rebar SD50, 25mm dia. | KG. | 99696 | 22.5 | 4.5 | 27 | 2691792
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Rebar SD50, 28mm dia. | KG. | 35411 | 22.5 | 4.5 | 27 | 956097
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Rebar SD50, 32mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Allow for Shear Key | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Mat Foundation [F66] | Curring concrete | M2 | 0 | 0 | 0 | 0 | 0
STRUCTURE | SUBSTRUCTURE | FOUNDATION | Soil slope stabilization | Allowance for temporary slope protection. | Item | 1 | 14332500 | 0 | 14332500 | 14332500
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Concrete 320ksc. cylinder test ผสมน้ำยากันซึม | M3 | 229 | 2060 | 265 | 2325 | 532425
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Formworks | M2 | 1418 | 210 | 260 | 470 | 666460
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Rebar SR24, 6mm dia. | Kg. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Rebar SR24, 9mm dia. | Kg. | 1000 | 23 | 5.5 | 28.5 | 28500
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Rebar SD40, 10mm dia. | Kg. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Rebar SD40, 12mm dia. | Kg. | 8918 | 22.5 | 5 | 27.5 | 245245
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Rebar SD40, 16mm dia. | Kg. | 21407 | 22 | 5 | 27 | 577989
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Rebar SD50, 20mm dia. | Kg. | 3901 | 22.5 | 4.5 | 27 | 105327
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Rebar SD50, 25mm dia. | Kg. | 19819 | 22.5 | 4.5 | 27 | 535113
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Rebar SD50, 28mm dia. | Kg. | 945 | 22.5 | 4.5 | 27 | 25515
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [UGWx] | Rebar SD50, 32mm dia. | Kg. | 1115 | 22.5 | 4.5 | 27 | 30105
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | Water/Damp proof system | Waterproof membrane to external wall.(Bituthene 3000) | M2 | 605 | 225 | 45 | 270 | 163350
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | Water/Damp proof system | Chemical coating to internal wall. (Include in Architects work) | M2 | 1130 | 0 | 0 | 0 | 0
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | Water/Damp proof system | Water stop RX101-3/4" x 1" or Equivalent | M | 208 | 235 | 145 | 380 | 79040
STRUCTURE | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | Additional Items | Protection For Waterproof membrane to external wall. | M2 | 605 | 140 | 190 | 330 | 199650
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Excavation. | M3 | 0 | 0 | 110 | 110 | 0
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Remove excavation material, off-site | M3 | 0 | 0 | 70 | 70 | 0
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Back fill by existing soil. | M3 | 0 | 0 | 110 | 110 | 0
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Compacted soil | M2 | 0 | 0 | 35 | 35 | 0
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Compacted sand, 50mm thick | M2 | 2 | 95 | 15 | 110 | 220
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Lean concrete, 50mm thick | M2 | 2 | 165 | 70 | 235 | 470
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Sheet membrane waterproof | M2 | 0 | 0 | 0 | 0 | 0
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Concrete 320ksc. cylinder test | M3 | 142 | 1985 | 265 | 2250 | 319500
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Formworks | M2 | 537 | 195 | 260 | 455 | 244335
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Rebar SR24, 9mm dia. | KG. | 2183 | 23 | 5.5 | 28.5 | 62215.5
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Rebar SD40, 12mm dia. | KG. | 6185 | 22.5 | 5 | 27.5 | 170087.5
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Rebar SD40, 16mm dia. | KG. | 3781 | 22 | 5 | 27 | 102087
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Rebar SD50, 20mm dia.(SD40) | KG. | 7905 | 22 | 4.5 | 26.5 | 209482.5
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Rebar SD50, 25mm dia.(SD40) | KG. | 13417 | 22 | 4.5 | 26.5 | 355550.5
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Rebar SD50, 28mm dia.(SD40) | KG. | 26520 | 22 | 4.5 | 26.5 | 702780
STRUCTURE | SUBSTRUCTURE | STUB COLUMN & TIE BEAM | RC Beam | Rebar SD50, 32mm dia. | KG. | 10259 | 22.5 | 4.5 | 27 | 276993
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Excavation to footing | M3 | 0 | 0 | 110 | 110 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Remove excavation material, off-site | M3 | 0 | 0 | 70 | 70 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Back fill by existing soil. | M3 | 0 | 0 | 110 | 110 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Existing grade compaction | M2 | 0 | 0 | 35 | 35 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Compacted sand, 50mm thick | M2 | 25 | 95 | 15 | 110 | 2750
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Lean concrete, 50mm thick | M2 | 25 | 165 | 70 | 235 | 5875
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Formworks | M2 | 534 | 1575 | 220 | 1795 | 958530
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Rebar SR24, 6mm dia. | Kg. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Rebar SR24, 9mm dia. | Kg. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Rebar SD40, 10mm dia. | Kg. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Rebar SD40, 12mm dia. | Kg. | 0 | 22.5 | 5 | 27.5 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Rebar SD40, 16mm dia. | Kg. | 36486 | 22 | 5 | 27 | 985122
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Rebar SD50, 20mm dia.(SD40) | Kg. | 1132 | 22 | 4.5 | 26.5 | 29998
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Rebar SD50, 25mm dia.(SD40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Rebar SD50, 28mm dia.(SD40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Compacted sand, 50mm thick | Rebar SD50, 32mm dia. | Kg. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Water/Damp proof system | Sheet membrane waterproof (Bituthene 3000) | M2 | 470 | 225 | 45 | 270 | 126900
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Water/Damp proof system | Water Stope 8" | M | 0 | 0 | 0 | 0 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Soil slope stabilization | Allowance for temporary slope protection. | Item | 0 | 0 | 0 | 0 | 0
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Additional Items | Concrete 320ksc. cylinder test ผสมน้ำยากันซึม | M3 | 254 | 2060 | 265 | 2325 | 590550
STRUCTURE | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Additional Items | Waterproof (Internal) (Include in Architects work) | M2 | 940 | 0 | 0 | 0 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Excavation. | M3 | 0 | 0 | 115 | 115 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Remove excavation material, off-site | M3 | 0 | 0 | 75 | 75 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Back fill by existing soil. | M3 | 0 | 0 | 115 | 115 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Compacted soil | M2 | 205 | 0 | 40 | 40 | 8200
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Compacted sand, 50mm thick | M2 | 205 | 95 | 15 | 110 | 22550
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Lean concrete, 50mm thick | M2 | 205 | 165 | 75 | 240 | 49200
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Sheet membrane waterproof( PVC Sheet 0.15mm.) | M2 | 205 | 25 | 10 | 35 | 7175
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Concrete 320ksc. cylinder test | M3 | 923 | 1985 | 265 | 2250 | 2076750
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Formworks | M2 | 3927 | 195 | 260 | 455 | 1786785
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SR24, 9mm dia. | KG. | 44 | 23 | 5.5 | 28.5 | 1254
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD40, 12mm dia. | KG. | 45210 | 22.5 | 5 | 27.5 | 1243275
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD40, 16mm dia. | KG. | 50948 | 22 | 5 | 27 | 1375596
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD50, 20mm dia.(SD40) | KG. | 28875 | 22 | 4.5 | 26.5 | 765187.5
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD50, 25mm dia.(SD40) | KG. | 83334 | 22 | 4.5 | 26.5 | 2208351
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD50, 28mm dia.(SD40) | KG. | 50208 | 22 | 4.5 | 26.5 | 1330512
STRUCTURE | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD50, 32mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Concrete 320ksc. cylinder test | M3 | 0 | 0 | 0 | 0 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Formworks | M2 | 0 | 0 | 0 | 0 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Rebar SR24, 9mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Rebar SD40, 12mm dia. | KG. | 0 | 22.5 | 5 | 27.5 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Rebar SD40, 16mm dia. | KG. | 0 | 22 | 5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Rebar SD50, 20mm dia.(SD40) | KG. | 0 | 22 | 4.5 | 26.5 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Rebar SD50, 25mm dia.(SD40) | KG. | 0 | 22 | 4.5 | 26.5 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Rebar SD50, 28mm dia.(SD40) | KG. | 0 | 22 | 4.5 | 26.5 | 0
STRUCTURE | SUPERSTRUCTURE | BEAM | Post Tension Beam [PBxx] | Rebar SD50, 32mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Excavation. | M3 | 0 | 0 | 115 | 115 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Compacted soil | M2 | 2002 | 0 | 40 | 40 | 80080
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Compacted sand | M2 | 2002 | 95 | 15 | 110 | 220220
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Lean concrete, 30mm thick | M2 | 2002 | 165 | 75 | 240 | 480480
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Sheet membrane waterproof ( PVC Sheet 0.15mm.) | M2 | 2002 | 25 | 10 | 35 | 70070
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Concrete 320ksc. cylinder test, Waterproof Mix | M3 | 1115 | 2060 | 440 | 2500 | 2787500
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Formworks | M2 | 3615 | 350 | 220 | 570 | 2060550
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SR24, 9mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD40, 12mm dia. | KG. | 35245 | 22.5 | 5 | 27.5 | 969237.5
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD40, 16mm dia. | KG. | 131680 | 22 | 5 | 27 | 3555360
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD50, 20mm dia.(SD40) | KG. | 1731 | 22 | 4.5 | 26.5 | 45871.5
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD50, 25mm dia.(SD40) | KG. | 4379 | 22 | 4.5 | 26.5 | 116043.5
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD50, 28mm dia.(SD40) | KG. | 0 | 22 | 4.5 | 26.5 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD50, 32mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Concrete 320ksc. cylinder test | M3 | 3443 | 2290 | 440 | 2730 | 9399390
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Formworks | M2 | 13578 | 350 | 220 | 570 | 7739460
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Rebar SR24, 6mm dia. | Kg. | 232 | 24 | 5.5 | 29.5 | 6844
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Rebar SR24, 9mm dia. | Kg. | 5443 | 23 | 5.5 | 28.5 | 155125.5
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Rebar SD40, 10mm dia. | Kg. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Rebar SD40, 12mm dia. | Kg. | 145410 | 22.5 | 5 | 27.5 | 3998775
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Rebar SD40, 16mm dia. | Kg. | 52005 | 22 | 5 | 27 | 1404135
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Rebar SD50, 20mm dia.(SD40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Rebar SD50, 25mm dia.(SD40) | Kg. | 21617 | 22 | 4.5 | 26.5 | 572850.5
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Rebar SD50, 28mm dia.(SD40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Rebar SD50, 32mm dia. | Kg. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | SLAB | Post-Tension Slab | Post-tension slab & beam | M2 | 12252 | 500 | 0 | 500 | 6126000
STRUCTURE | SUPERSTRUCTURE | SLAB | Additional Items | Concrete 320ksc. cylinder test | M3 | 853 | 2060 | 440 | 2500 | 2132500
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Concrete 500ksc. cylinder test | M3 | 1559 | 2520 | 265 | 2785 | 4341815
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Formworks | M2 | 5570 | 195 | 260 | 455 | 2534350
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Rebar SR24, 9mm dia. | KG. | 14714 | 23 | 5.5 | 28.5 | 419349
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Rebar SD40, 12mm dia. | KG. | 33659 | 22.5 | 5 | 27.5 | 925622.5
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Rebar SD40, 16mm dia. | KG. | 25999 | 22 | 5 | 27 | 701973
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Rebar SD50, 20mm dia. | KG. | 63887 | 22.5 | 4.5 | 27 | 1724949
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Rebar SD50, 25mm dia. | KG. | 106181 | 22.5 | 4.5 | 27 | 2866887
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Rebar SD50, 28mm dia. | KG. | 139604 | 22.5 | 4.5 | 27 | 3769308
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Column [Cxx] | Rebar SD50, 32mm dia. | KG. | 57861 | 22.5 | 4.5 | 27 | 1562247
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Concrete 500ksc. cylinder test | M3 | 1312 | 2520 | 265 | 2785 | 3653920
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Formworks | M2 | 7646 | 210 | 260 | 470 | 3593620
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Rebar SR24, 9mm dia. | KG. | 8887 | 23 | 5.5 | 28.5 | 253279.5
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Rebar SD40, 12mm dia. | KG. | 52580 | 22.5 | 5 | 27.5 | 1445950
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Rebar SD40, 16mm dia. | KG. | 25154 | 22 | 5 | 27 | 679158
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Rebar SD50, 20mm dia. | KG. | 34358 | 22.5 | 4.5 | 27 | 927666
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Rebar SD50, 25mm dia. | KG. | 89222 | 22.5 | 4.5 | 27 | 2408994
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Rebar SD50, 28mm dia. | KG. | 10146 | 22.5 | 4.5 | 27 | 273942
STRUCTURE | SUPERSTRUCTURE | COLUMN, LOAD BEARING & SHEAR WALL | RC Shear Wall [SWxx] | Rebar SD50, 32mm dia. | KG. | 5589 | 22.5 | 4.5 | 27 | 150903
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Concrete 320ksc. cylinder test | M3 | 0 | 2060 | 265 | 2325 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Formworks | M2 | 0 | 210 | 260 | 470 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Rebar SR24, 9mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Rebar SD40, 12mm dia. | KG. | 0 | 22.5 | 5 | 27.5 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Rebar SD40, 16mm dia. | KG. | 0 | 22 | 5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Rebar SD50, 20mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Rebar SD50, 25mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Rebar SD50, 28mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | RC Retaining Wall (WWAx) | Rebar SD50, 32mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | Miscellaneous | Sheet membrane waterproof | M2 | 0 | 0 | 0 | 0 | 0
STRUCTURE | SUPERSTRUCTURE | WATER RETAINING & NON LOAD BEARING WALL | Miscellaneous | Water Stope 8" | M | 0 | 0 | 0 | 0 | 0
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Concrete 320ksc. cylinder test | M3 | 143 | 1985 | 550 | 2535 | 362505
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Formworks | M2 | 993 | 235 | 325 | 560 | 556080
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Stair_Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5.5 | 29.5 | 0
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Stair_Rebar SR24, 9mm dia. | KG. | 1825 | 23 | 5.5 | 28.5 | 52012.5
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Stair_Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5.5 | 28.5 | 0
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Stair_Rebar SD40, 12mm dia. | KG. | 10913 | 22.5 | 5 | 27.5 | 300107.5
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Stair_Rebar SD40, 16mm dia. | KG. | 6519 | 22 | 5 | 27 | 176013
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Stair_Rebar SD50, 20mm dia.(SD40) | KG. | 1333 | 22 | 4.5 | 26.5 | 35324.5
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Stair_Rebar SD50, 25mm dia.(SD40) | KG. | 894 | 22 | 4.5 | 26.5 | 23691
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Stair_Rebar SD50, 28mm dia.(SD40) | KG. | 0 | 22 | 4.5 | 26.5 | 0
STRUCTURE | SUPERSTRUCTURE | STAIRCASE | RC Staircase [STxx] | Stair_Rebar SD50, 32mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
STRUCTURE | SUPERSTRUCTURE | ROOF FRAME | Additional Items | Allowance for Steel structure @ Canopy roof(Provisional) | Item | 1 | 4000000 | 0 | 4000000 | 4000000
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | WF-500x200x10x16 mm. (89.6 kg/m) | Kg | 1290 | 64.5 | 22 | 86.5 | 111585
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | WF-300x200x8x12 mm. (56.8 kg/m) | Kg | 3120 | 64.5 | 22 | 86.5 | 269880
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | WF-200x100x5.5x8 mm. (21.3 kg/m) | Kg | 430 | 64.5 | 22 | 86.5 | 37195
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | WF-150x75x5x7 mm. (14 kg/m) | Kg | 420 | 64.5 | 22 | 86.5 | 36330
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | PL-10 mm. (81 kg/m2) | Kg | 1 | 56 | 22 | 78 | 78
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | PL-15 mm. (122 kg/m2) | Kg | 100 | 56 | 22 | 78 | 7800
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | Dowel DB16 (L=1.80m) | Ea | 6 | 87.5 | 65 | 152.5 | 915
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | Dowel DB12 (L=1.13m) | Ea | 9 | 29.5 | 22 | 51.5 | 463.5
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | Antirust Paint | m2 | 140 | 28 | 22 | 50 | 7000
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | Enamel Paint | m2 | 140 | 55.5 | 43.5 | 99 | 13860
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | Fireproof | m2 | 140 | 175 | 43.5 | 218.5 | 30590
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | Wire Brush | m2 | 140 | 0 | 29 | 29 | 4060
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | Dia.60mm Stainless Coupler | ea | 6 | 816.5 | 144 | 960.5 | 5763
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | Dia.30mm Stainless Steel rod | m | 140 | 1749 | 287.5 | 2036.5 | 285110
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | 20mm.thk GMS Plate with Hole | ea | 12 | 175 | 144 | 319 | 3828
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | Pin Dia.30mm | ea | 12 | 350 | 287.5 | 637.5 | 7650
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Canopy | 10mm.thk Stainless Plate | ea | 24 | 583 | 144 | 727 | 17448
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Façade Support) | WF-300x150x5.5x8 mm. (32 kg/m) | Kg | 4900 | 35 | 22 | 57 | 279300
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Façade Support) | PL-12 mm. (97 kg/m2) | Kg | 250 | 29.5 | 22 | 51.5 | 12875
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Façade Support) | Dowel DB16 (L=1.90m) | Ea | 74 | 87.5 | 65 | 152.5 | 11285
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Façade Support) | Antirust Paint | m2 | 190 | 28 | 22 | 50 | 9500
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Façade Support) | Enamel Paint | m2 | 190 | 55.5 | 43.5 | 99 | 18810
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Façade Support) | Fireproof | m2 | 190 | 175 | 43.5 | 218.5 | 41515
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Façade Support) | Wire Brush | m2 | 190 | 0 | 29 | 29 | 5510
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Roof Stack | H-150x150x7x10 mm. (31.5 kg/m) | Kg | 37590 | 35 | 22 | 57 | 2142630
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Roof Stack | WF-200x100x5.5x8 mm. (21.3 kg/m) | Kg | 24300 | 35 | 22 | 57 | 1385100
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Roof Stack | PL-25 mm. (203 kg/m2) | Kg | 10100 | 30.5 | 22 | 52.5 | 530250
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Roof Stack | PL-10 mm. (81 kg/m2) | Kg | 6710 | 30.5 | 22 | 52.5 | 352275
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Roof Stack | M16 J-Bolt | Ea | 5300 | 82 | 45 | 127 | 673100
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Roof Stack | Non Shrink Grout (3cm) | m2 | 50 | 1224.5 | 647 | 1871.5 | 93575
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Roof Stack | Antirust Paint | m2 | 2170 | 28 | 22 | 50 | 108500
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Roof Stack | Enamel Paint | m2 | 2170 | 55.5 | 43.5 | 99 | 214830
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Roof Stack | Fireproof | m2 | 2170 | 175 | 72 | 247 | 535990
STRUCTURE | SUPERSTRUCTURE | Steel Structure | Roof Stack | Wire Brush | m2 | 2170 | 0 | 29 | 29 | 62930
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Fixed Partitions | 70mm thick Thai brick wall including concrete siffener. | M2 | 127 | 225 | 285 | 510 | 64770
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Fixed Partitions | 140mm thick Thai brick wall including concrete siffener. | M2 | 940 | 445 | 480 | 925 | 869500
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Fixed Partitions | 70mm thick concrete block including concrete stiffener. (Autoclave aerated Block 75 mm.Thk.) | M2 | 488 | 340 | 190 | 530 | 258640
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Fixed Partitions | 140mm thick concrete block including concrete stiffener. (Autoclave aerated Block 150 mm.Thk.) | M2 | 4690 | 665 | 205 | 870 | 4080300
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Fixed Partitions | 100mm high RC. curb. | M | 884 | 120 | 75 | 195 | 172380
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Fixed Partitions | 150mm high RC. curb. | M | 182 | 175 | 90 | 265 | 48230
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Fixed Partitions | 100mm thick stud partition, 12mm thick gypsumboard both side on C75 frame and 50mm thick, 42kg/cu.m. rockwool [SD6-110] | M2 | 0 | 760 | 320 | 1080 | 0
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Fixed Partitions | 98mm thick stud partition, 2x12mm thick gypsumboard both side on C50 frame and 50mm thick, 42kg/cu.m. rockwool [SD6-300] | M2 | 0 | 785 | 335 | 1120 | 0
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Fixed Partitions | 900mm high chain link with steel frame | M | 9 | 700 | 535 | 1235 | 11115
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Balustrades and Screens | SD2-102: 900mm high steel handrail including enamel paint [stair]Used Detail SD2-107 | M | 269 | 1490 | 335 | 1825 | 490925
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Balustrades and Screens | SD2-100: 900mm high steel handrail including enamel paint [stair] | M | 273 | 730 | 135 | 865 | 236145
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Balustrades and Screens | SD2-205: 1100mm high steel balustrade including enamel paint (100x50x3.2Rail/FB100x9 Column) | M | 231 | 3310 | 555 | 3865 | 892815
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Additional Items | Stud & Lintel - 70mm thick Thai brick | M | 95.25 | 170 | 90 | 260 | 24765
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Additional Items | Stud & Lintel - 140mm thick Thai brick | M | 705 | 385 | 105 | 490 | 345450
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Additional Items | Stud & Lintel - 140mm thick concrete block | M | 366 | 385 | 105 | 490 | 179340
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Additional Items | Stud & Lintel - 70mm thick concrete block | M | 3517.5 | 170 | 90 | 260 | 914550
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Additional Items | 900mm high steel handrail including enamel paint (บันได 5)SD2-107 | M | 7 | 1490 | 335 | 1825 | 12775
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Additional Items | 900mm high steel handrail including enamel paint (บันได 6)SD2-107 | M | 12 | 1490 | 335 | 1825 | 21900
ARCHITECTURE | PARTITIONS & DOORS | PARTITIONS | Additional Items | 900mm high steel handrail including enamel paint (บันได 8)SD2-107 | M | 3 | 1490 | 335 | 1825 | 5475
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SD1: 1.00m wide x 2.05m high steel door with glass view including steel frame, single leaf, 2HR fire rated. | NO. | 12 | 12245 | 3020 | 15265 | 183180
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SD2: 1.00m wide x 2.05m high steel door including steel frame, single leaf. | NO. | 7 | 11080 | 3020 | 14100 | 98700
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SD3: 1.50m wide x 2.05m high steel door including steel frame, double leaves. | NO. | 3 | 17490 | 4170 | 21660 | 64980
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SD4: 1.50m wide x 2.05m high steel door with glass view including steel frame, double leaves. | NO. | 5 | 1870 | 4170 | 6040 | 30200
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SD5: 0.80m wide x 2.05m high steel door with louver including steel frame, single leaf. | NO. | 2 | 15745 | 3020 | 18765 | 37530
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SD6: 1.50m wide x 2.05m high steel door including steel frame, double leaves. 1HR fire rated. | NO. | 3 | 17490 | 4170 | 21660 | 64980
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SH1: 2.00m wide x 2.05m high roller shutter door, manual operation. | NO. | 2 | 12830 | 4315 | 17145 | 34290
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SF1: 2.95m wide x 1.80m high steel door including steel farme, 2 x double leaves. | NO. | 6 | 34980 | 5750 | 40730 | 244380
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SF2: 0.70m wide x 1.80m high steel door including steel farme, single leaf. | NO. | 4 | 8400 | 3020 | 11420 | 45680
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SF3: 2.25m wide x 1.80m high steel door including steel farme, single + double leaves. | NO. | 1 | 27405 | 720 | 28125 | 28125
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SF4: 1.20m wide x 1.80m high steel door including steel farme, double leaves. | NO. | 0 | 14345 | 4170 | 18515 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SF5: 4.40m wide x 1.80m high steel door including steel farme, 3 x double leaves. | NO. | 1 | 52355 | 4170 | 56525 | 56525
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SF6: 2.87m wide x 1.80m high steel door including steel farme, 2 x double leaves. | NO. | 0 | 34515 | 8340 | 42855 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SF7: 0.70m wide x 0.90m high steel door including steel farme, single leaf. | NO. | 0 | 6065 | 3020 | 9085 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SF8: 0.70m wide x 1.00m high steel door including steel farme, single leaf. | NO. | 0 | 6065 | 3020 | 9085 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SF9: 0.70m wide x 1.10m high steel door including steel farme, single leaf. | NO. | 0 | 6065 | 3020 | 9085 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | SF10: 0.70m wide x 1.20m high steel door including steel farme, single leaf. | NO. | 0 | 6065 | 3020 | 9085 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | AD1: Automatic sliding door | NO. | 2 | 0 | 0 | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | AD2: 5.40m wide x 2.40m high glass door, frame less, double leaves. | NO. | 1 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | AD3: 1.67m wide x 2.40m high glass door, frame less, double sliding. | NO. | 2 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | AD4: 5.40m wide x 2.40m high glass door, aluminum frame, double leaves. | NO. | 0 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | AD5: 1.50m wide x (2.40m O + 0.60m F) high glass door, frame less, double leaves. | NO. | 0 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | AD6: 1.50m wide x 2.70m high glass door, aluminum frame, double leaves. | NO. | 0 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Doors | AD7: Revolving door | NO. | 1 | 0 | 0 | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 01 | SET | 12 | 14695 | 1150 | 15845 | 190140
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 02 | SET | 7 | 9465 | 1225 | 10690 | 74830
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 03 | SET | 3 | 16475 | 2160 | 18635 | 55905
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 04 | SET | 5 | 16475 | 2160 | 18635 | 93175
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 05 | SET | 2 | 7235 | 1225 | 8460 | 16920
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 06 | SET | 3 | 9465 | 1225 | 10690 | 32070
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 07 | SET | 0 | 11245 | 1440 | 12685 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 08 | SET | 0 | 19145 | 2875 | 22020 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 09 | SET | 0 | 19145 | 2875 | 22020 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 10 | SET | 0 | 11245 | 1440 | 12685 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 11 | SET | 0 | 19145 | 2875 | 22020 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 12 | SET | 6 | 4230 | 1295 | 5525 | 33150
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 13 | SET | 4 | 1670 | 435 | 2105 | 8420
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 14 | SET | 1 | 3785 | 1150 | 4935 | 4935
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 15 | SET | 0 | 2115 | 720 | 2835 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 16 | SET | 1 | 6345 | 2160 | 8505 | 8505
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 17 | SET | 0 | 4230 | 1440 | 5670 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 17 (AD1) | SET | 2 | 0 | 0 | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 17 (AD2) | SET | 1 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Interior Door Hardwares | SET 17 (AD3) | SET | 2 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Additional Items | G1 | NO. | 3 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Additional Items | G2 | NO. | 16 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Additional Items | G3 | NO. | 52 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Additional Items | ID1 | NO. | 2 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Additional Items | ID2 | NO. | 1 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Additional Items | ID3 | NO. | 1 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Additional Items | ID4 | NO. | 0 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Additional Items | ID5 | NO. | 0 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Additional Items | ID6 | NO. | 1 | 0 |  | 0 | 0
ARCHITECTURE | PARTITIONS & DOORS | INTERIOR DOORS & WINDOWS | Additional Items | ID7 | NO. | 0 | 0 |  | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Preparation | Waterproof coating, cement coating. | M2 | 0 | 135 | 45 | 180 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Preparation | Waterproof coating, crystallization (Radcon #7). (P4) | M2 | 507 | 210 | 45 | 255 | 129285
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Preparation | Waterproof coating, liquid membrane. (Pump Room, Garbage) | M2 | 412 | 210 | 45 | 255 | 105060
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Preparation | Waterproof coating, sheet membrane. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Finishes | Sand cement render. (P5 , P6) | M2 | 5082 | 75 | 175 | 250 | 1270500
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Finishes | Internal paint, acrylic. (P5) | M2 | 3566 | 85 | 55 | 140 | 499240
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Finishes | P2: Acrylic paint to internal wall. | M2 | 8192 | 85 | 55 | 140 | 1146880
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Finishes | P4/P7: 100x100mm glazed ceramic tile including sand cement backing (waterproof is measured elsewhere) ( FT GEN WHITE) | M2 | 507 | 235 | 765 | 1000 | 507000
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Finishes | P8: 20mm thick granite tile including sand cment backing.(ดำแอฟริกา) Wet Process | M2 | 0 | 4620 | 720 | 5340 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Finishes | P9/P10/P20: 20mm thick granite tile including sand cment backing.(ดำแอฟริกา) Wet Process | M2 | 0 | 4620 | 720 | 5340 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Finishes | P11/P18: 30mm thick granite tile, dry process installation. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Finishes | P12: 30mm thick granite tile, dry process installation. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Finishes | P16: 300x600mm thick homogeneous tile including sand cement backing.(GT THE TOUCHBONE R/T 24x24)เลิกผลิตเสนอ GP HIDEAWAY BONE R/T | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Finishes | P17/P17a: Cotto ceramic tile including sand cement backing (GP HIDEAWAY BONE R/T) | M2 | 373 | 620 | 765 | 1385 | 516605
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK2: Paint finish | M | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK3: 20mm high waterproof render, cement base. | M | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK4: 100mm high ceramic tile. | M | 135 | 140 | 115 | 255 | 34425
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK5: 100mm high x 20mm thick hardwood skirt. | M | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK6: 100mm high x 20mm thick granite skirt. | M | 0 | 925 | 720 | 1645 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK7: 100mm high x 20mm thick compressed stone skirt. | M | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK9: 100mm high sand cement render with steel-trowelled finish. | M | 166 | 15 | 60 | 75 | 12450
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK10: 100mm high epoxy, solvent free, paint skirt. | M | 363 | 205 | 135 | 340 | 123420
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK12: 100mm high matte enamel paint. | M | 734 | 35 | 25 | 60 | 44040
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK13: 100mm high vinyl skirt. | M | 367 | 40 | 30 | 70 | 25690
ARCHITECTURE | FINISHES | WALL FINISHES | Wall Bases (Skirt) | SK14: 100mm high homogeneous tile. | M | 34 | 190 | 115 | 305 | 10370
ARCHITECTURE | FINISHES | WALL FINISHES | Wall & Column Protection | 1000mm high corner guard, Thermoplastic as detail SD2-204. | NO. | 57 | 2335 | 435 | 2770 | 157890
ARCHITECTURE | FINISHES | WALL FINISHES | Wall & Column Protection | 6750mm high syntetic rubber bumper guardr as detail SD2-211 | M | 22 | 3735 | 1440 | 5175 | 113850
ARCHITECTURE | FINISHES | WALL FINISHES | Wall & Column Protection | 225mm high Syntetic rubber wall protection rail as setail SD2-210. | M | 6 | 2220 | 720 | 2940 | 17640
ARCHITECTURE | FINISHES | WALL FINISHES | Additional Items | Aluminium Composit Clading (Drawing No. LD1-133 REV.A) | M2 | 869 | 0 |  | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Additional Items | Bronze Metal Clading (Drawing No. LD1-201 REV.A) | M2 | 300 | 0 |  | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Additional Items | Aluminium Composit Panel (Drawing No. LD1-117 REV.A) | M2 | 0 | 0 |  | 0 | 0
ARCHITECTURE | FINISHES | WALL FINISHES | Additional Items | Aluminium Composit Spandrel (Drawing No. LD1-201 REV.A) | M | 0 | 0 |  | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Floor Preparation | F6: 50mm thick sand cement screed. | M2 | 345 | 170 | 85 | 255 | 87975
ARCHITECTURE | FINISHES | FLOOR FINISHES | Floor Preparation | F7/8/11: 35mm thick sand cement screed for non finished flooring. | M2 | 2822 | 120 | 85 | 205 | 578510
ARCHITECTURE | FINISHES | FLOOR FINISHES | Floor Preparation | F20: Raised floor, high pressure laminate including damp proof. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Concrete Sealer | Waterproof coating, cement coating. | M2 | 1144 | 135 | 45 | 180 | 205920
ARCHITECTURE | FINISHES | FLOOR FINISHES | Concrete Sealer | Waterproof coating, crystallization (Radcon #7). | M2 | 0 | 210 | 45 | 255 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Concrete Sealer | Waterproof coating, liquid membrane. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Concrete Sealer | Waterproof coating, sheet membrane. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Concrete Sealer | F2: Non metalic floor hardener to RC. slab.(Sika สีเทา 5kg/m2) | M2 | 2680 | 60 | 110 | 170 | 455600
ARCHITECTURE | FINISHES | FLOOR FINISHES | Concrete Sealer | F3: Ribbed with Non metalic floor hardener to RC. slab.(Sika สีเทา 5kg/m2)/Groove | M2 | 677 | 175 | 430 | 605 | 409585
ARCHITECTURE | FINISHES | FLOOR FINISHES | Concrete Sealer | F16: 3mm thick epoxy coating, self leveling. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Concrete Sealer | F17: 1mm thick epoxy coating including sand cement screed. | M2 | 696 | 510 | 175 | 685 | 476760
ARCHITECTURE | FINISHES | FLOOR FINISHES | Concrete Sealer | F18: 1mm thick epoxy coating including sand cement screed. (waterprrofing is measured elsewhere) | M2 | 665 | 510 | 175 | 685 | 455525
ARCHITECTURE | FINISHES | FLOOR FINISHES | Concrete Sealer | F19:300x300x3mm thick vinyl tile including sand cement screed.(Armstong Excel 2.4mm.) | M2 | 128 | 510 | 145 | 655 | 83840
ARCHITECTURE | FINISHES | FLOOR FINISHES | Flooring | F12: Heavy duty carpet tile including ecosoft@ backing. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Flooring | F13: 500x500x50mm thick precast tile on 50mm thick, 32kg/cu.m. polyestyrene insulation including sand cement screed [SD1-500 to SD1-503]. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Flooring | F14: 300x300mm Non-slip ceramic tile including sand cement screed.( Balza chalk Grip R11 400x800mm.) | M2 | 134 | 1810 | 605 | 2415 | 323610
ARCHITECTURE | FINISHES | FLOOR FINISHES | Flooring | F15: 600x600mm Homogeneous tile including sand cement screed. (GT HIDEWAY R/T ) | M2 | 105 | 630 | 605 | 1235 | 129675
ARCHITECTURE | FINISHES | FLOOR FINISHES | Flooring | F21/22: 750x900x20mm thick granite tile, polished finish, including sand cement screed. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Flooring | F23: 230x910x2.5mm thick vinyl tile including sand cement screed. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Flooring | F24: Vinyl tile flooring | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Flooring | C/S Pedigrid recessed mat, refer to SD1-101 | M2 | 44 | 13995 | 1440 | 15435 | 679140
ARCHITECTURE | FINISHES | FLOOR FINISHES | Traffic Line Marking | 100mm wide traffic line, thermoplastic paint. | M | 549 | 35 | 0 | 35 | 19215
ARCHITECTURE | FINISHES | FLOOR FINISHES | Traffic Line Marking | 3600m high directional arrow, thermoplastic paint. | NO. | 28 | 555 | 0 | 555 | 15540
ARCHITECTURE | FINISHES | FLOOR FINISHES | Traffic Line Marking | 1000x1000mm wide Handicap parking sign | NO. | 12 | 1655 | 0 | 1655 | 19860
ARCHITECTURE | FINISHES | FLOOR FINISHES | Additional Items | SD-203/208 100mm high x 650mm long PP wheel stopper. | NO. | 104 | 1870 | 720 | 2590 | 269360
ARCHITECTURE | FINISHES | FLOOR FINISHES | Additional Items | F1:No finish | M2 | 9838 | 0 | 35 | 35 | 344330
ARCHITECTURE | FINISHES | FLOOR FINISHES | Additional Items | F4:50 mm.sand-cement screed with steel-trowelled finish 25 mm.thk. On half landings and stair treads. All stair treeds to have non-slip metal noising | M2 | 11 | 185 | 85 | 270 | 2970
ARCHITECTURE | FINISHES | FLOOR FINISHES | Additional Items | F5:300x300x3 mm.thk.non-asbestos vinyl tiles on sand-cement screed ( 50 mm.overall) On half landings and stair treads. All stair treeds to have non-slip metal noising | M2 | 29 | 540 | 190 | 730 | 21170
ARCHITECTURE | FINISHES | FLOOR FINISHES | Additional Items | F9:35 mm.thk. Sand/cement screed to receive finish by orther ( 50 mm. overall ) | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Additional Items | F10:By fitting-out contractor ( No main contractor finish ) | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | FLOOR FINISHES | Additional Items | Floor depress at loading area and parking | M | 89 | 295 | 145 | 440 | 39160
ARCHITECTURE | FINISHES | FLOOR FINISHES | Additional Items | ROAD MARKING PAINT AS SPECIFIED BY MC ( SD2-208 ) | NO. | 53 | 595 | 0 | 595 | 31535
ARCHITECTURE | FINISHES | CEILING FINISHES | Ceiling Finishes | Making good to soffit of slab. (แต่งผิวท้องพื้น). | M2 | 81 | 25 | 75 | 100 | 8100
ARCHITECTURE | FINISHES | CEILING FINISHES | Ceiling Finishes | C2: Acrylic paint to exposed ceiling. | M2 | 81 | 85 | 55 | 140 | 11340
ARCHITECTURE | FINISHES | CEILING FINISHES | Ceiling Finishes | C5: Sand cement plaster with paint to soffit of slab. | M2 | 40 | 120 | 175 | 295 | 11800
ARCHITECTURE | FINISHES | CEILING FINISHES | Ceiling Finishes | C6: 9mm thick moisture resistant gypsum board including suspension frame, jointless. | M2 | 117 | 280 | 130 | 410 | 47970
ARCHITECTURE | FINISHES | CEILING FINISHES | Ceiling Finishes | C7: 9mm thick gypsum board including suspension frame, jointless. | M2 | 0 | 260 | 140 | 400 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Ceiling Finishes | C9: Acoustic lining to ME& room as detail SD4-307 | M2 | 1409 | 0 |  | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Ceiling Finishes | C10: Expose concrete(มีงานตกแต่งโดย ID เปลือยไม้แบบ ไม่ต้องทำอะไร) | M2 | 16041 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Ceiling Finishes | C11: 16mm thick Acoustic mineral fiber tile on T-Bar frame | M2 | 0 | 480 | 155 | 635 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Ceiling Finishes | C12: Power coated metal tile. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Ceiling Finishes | C13: Granite tile, dry fixed process | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | Acrylic paint to ceiling.(Plaster &Gypsum board) | M2 | 157 | 85 | 55 | 140 | 21980
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | Waterproof coating, crystallization (Radcon #7). | M2 | 345 | 210 | 45 | 255 | 87975
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C1:Suspended mineral fiber acoustic tile as show in general specification | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C3:Waterproof concrete system to off-form concrete (Radcon#7) | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C4:Waterproof concrete system applied finish in watertanks and STP tanks manufacturer's instructions and recommendation in water and STP tanks - Radcon | M2 | 345 | 210 | 45 | 255 | 87975
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C8:Featured gypsum board and plaster ceiling to detail. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C8A:Featured moisture resistant gypsum board and plaster ceiling to detail. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C14:Suspended ceiling by fitting-out contractor (no base finish is required). | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C15:Suspended powder coated metal tiles to detail Fame Line T-grid system to detail. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C16:5 mm.thk.skim coated gypsum compound with paint finish to spec. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C17:Suspended 15 mm.thk.moisture resistant gypsum board ceiling tiles on 600x1200 mm.Powder coated T-bar grid. | M2 | 17 | 560 | 130 | 690 | 11730
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C18:Suspended metal ceiling system,Fame Line linear grid acoustic performance panel,(Fame line LG2000-LP200-S-W300-A-PFA-ACOUS). | M2 | 76 | 2760 | 1105 | 3865 | 293740
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C19:By fitting - out | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | CEILING FINISHES | Additional Items | C20:12 mm.thk. Suspended moisture resistant gypsum board ceiling with tapered edges,tape and filled with paint finish to spec. | M2 | 0 | 0 | 0 | 0 | 0
ARCHITECTURE | FINISHES | STAIR FINISHES | Landing Finishes | F4: Steel trowel including sand cement screed. | M2 | 140 | 130 | 85 | 215 | 30100
ARCHITECTURE | FINISHES | STAIR FINISHES | Landing Finishes | F5: 300x300x2.5mm thick vinyl tile. | M2 | 237 | 540 | 190 | 730 | 173010
ARCHITECTURE | FINISHES | STAIR FINISHES | Tread and Riser Finishes | F4: 250mm~300mm wide steel trowel tread including sand cement backing and metal nosing. (ลูกนอนขัดมันรวมทำจมูก) | M | 433 | 100 | 110 | 210 | 90930
ARCHITECTURE | FINISHES | STAIR FINISHES | Tread and Riser Finishes | F4: 150mm~175mm high steel trowel riser including sand cement backing. (ลูกตั้งขัดมัน) | M | 492 | 60 | 65 | 125 | 61500
ARCHITECTURE | FINISHES | STAIR FINISHES | Tread and Riser Finishes | F5: 250mm~300mm wide vinyl tile tread including sand cement backing and metal nosing. (ลูกนอนกระเบื้องยาง รวมทำจมูก) | M | 353 | 190 | 180 | 370 | 130610
ARCHITECTURE | FINISHES | STAIR FINISHES | Tread and Riser Finishes | F5: 150mm~175mm high vinyl tile riser including sand cement backing. (ลูกตั้งปูกระเบื้องยาง) | M | 402 | 95 | 110 | 205 | 82410
ARCHITECTURE | FINISHES | STAIR FINISHES | Soffit Finishes | Making good to soffit of slab (แต่งผิวท้องพื้น) | M2 | 571 | 25 | 75 | 100 | 57100
ARCHITECTURE | FINISHES | STAIR FINISHES | Soffit Finishes | Making good to side of slab (แต่งผิวขอบบันได) | M2 | 43 | 120 | 175 | 295 | 12685
ARCHITECTURE | FINISHES | STAIR FINISHES | Soffit Finishes | Acrylic paint to internal ceiling. | M2 | 192 | 85 | 55 | 140 | 26880
ARCHITECTURE | FINISHES | STAIR FINISHES | Additional Items | F17: 1mm thick epoxy coating including sand cement screed. (ลูกนอนบันได 6, บันได 8) | M | 37 | 340 | 230 | 570 | 21090
ARCHITECTURE | FINISHES | STAIR FINISHES | Additional Items | F17: 1mm thick epoxy coating including sand cement screed. (ลูกตั้งบันได 6, บันได 8) | M | 39 | 205 | 85 | 290 | 11310
ARCHITECTURE | FINISHES | STAIR FINISHES | Additional Items | F18: 1mm thick epoxy coating including sand cement screed. (waterprrofing is measured elsewhere) (ลูกนอนบันได 5) | M | 19 | 340 | 230 | 570 | 10830
ARCHITECTURE | FINISHES | STAIR FINISHES | Additional Items | F18: 1mm thick epoxy coating including sand cement screed. (waterprrofing is measured elsewhere) (ลูกตั้งบันได 5) | M | 20 | 205 | 85 | 290 | 5800
ARCHITECTURE | FINISHES | STAIR FINISHES | Additional Items | F19:300x300x3mm thick vinyl tile including sand cement screed. (ลูกนอนบันได 7) | M | 16 | 165 | 140 | 305 | 4880
ARCHITECTURE | FINISHES | STAIR FINISHES | Additional Items | F19:300x300x3mm thick vinyl tile including sand cement screed. (ลูกตั้งบันได 7) | M | 18 | 95 | 85 | 180 | 3240
ARCHITECTURE | FINISHES | STAIR FINISHES | Additional Items | F21: 750x900x20mm thick granite tile, polished finish, including sand cement screed. (ลูกนอนบันได 3) | M | 8 | 1390 | 1380 | 2770 | 22160
ARCHITECTURE | FINISHES | STAIR FINISHES | Additional Items | F21: 750x900x20mm thick granite tile, polished finish, including sand cement screed. (ลูกตั้งบันได 3) | M | 9 | 810 | 720 | 1530 | 13770
ARCHITECTURE | FINISHES | STAIR FINISHES | Additional Items | Fixed ladder ( LD2-301,LD2-307-313 ) | NO. | 12 | 4665 | 1440 | 6105 | 73260
ARCHITECTURE | FINISHES | STAIR FINISHES | Additional Items | 75x150x10 Nosing metal Strip | M | 842 | 140 | 45 | 185 | 155770
ARCHITECTURE | FINISHES | Additional Items | BOH PANTRY | KITCHENETTE CT9150 AD#WH L=1.50 M. | SET | 1 | 0 |  | 0
ARCHITECTURE | FINISHES | Additional Items | BOH PANTRY | FAUCET , COTTO CT151A | SET | 1 | 0 |  | 0
ARCHITECTURE | FINISHES | Additional Items | BOH PANTRY | Sink , COTTO CT823SD + Z403 + CT179 BY M.C. | SET | 1 | 0 |  | 0
ARCHITECTURE | FINISHES | Additional Items | BOH PANTRY | Cubboard & Counter ( Top granite ) | M | 5 | 0 |  | 0
ARCHITECTURE | FINISHES | Additional Items | BOH PANTRY | Cubboard ( Above ) | M | 5 | 0 |  | 0
EXTERNAL | SUBSTRUCTURE | EARTHWORKS | Excavation & Back fill | Excavation. | M3 | 2039 | 0 | 110 | 110 | 224290
EXTERNAL | SUBSTRUCTURE | EARTHWORKS | Excavation & Back fill | Back fill by compacted existing soil. | M3 | 0 | 0 | 110 | 110 | 0
EXTERNAL | SUBSTRUCTURE | EARTHWORKS | Excavation & Back fill | Back fill by compacted sand. | M3 | 748 | 470 | 110 | 580 | 433840
EXTERNAL | SUBSTRUCTURE | EARTHWORKS | Soil slope stabilization | Allowance for temporary sheet pile for retention tank. | Item | 1 | 1970010 | 0 | 1970010 | 1970010
EXTERNAL | SUBSTRUCTURE | EARTHWORKS | Soil slope stabilization | Allowance for temporary sheet pile for WTT | Item | 1 | 1402380 | 0 | 1402380 | 1402380
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Piling | 0.18m x 0.18m - 6.00m long square driven pile (SL 5t/pile) | No. | 182 | 850 | 245 | 1095 | 199290
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Piling | 0.35m dia. x 21.00m long Bored pile (SL 30 t/pile) | No. | 196 | 11800 | 0 | 11800 | 2312800
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Piling | 0.18m x 0.18m pile cut-off. | No. | 182 | 60 | 120 | 180 | 32760
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Piling | 0.35m dia pile cut-off. | No. | 196 | 235 | 580 | 815 | 159740
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Piling | Pile head disposal, off-site. | No. | 378 | 0 | 665 | 665 | 251370
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Excavation to footing | M3 | 140 | 0 | 110 | 110 | 15400
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Remove Excavation material from Site | M3 | 20 | 0 | 70 | 70 | 1400
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Back fill by existing soil. | M3 | 120 | 0 | 110 | 110 | 13200
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Existing grade compaction | M2 | 0 | 0 | 35 | 35 | 0
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Compacted sand, 50mm thick | M2 | 3 | 95 | 15 | 110 | 330
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Lean concrete, 50mm thick | M2 | 3 | 165 | 70 | 235 | 705
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Concrete 240ksc. cylinder test | M3 | 15 | 1820 | 205 | 2025 | 30375
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Formworks | M2 | 102 | 160 | 160 | 320 | 32640
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Rebar SR24, 6mm dia. | KG. | 0 | 24 | 5 | 29 | 0
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Rebar SR24, 9mm dia. | KG. | 622 | 23 | 5 | 28 | 17416
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Rebar SD40, 10mm dia. | KG. | 0 | 23 | 5 | 28 | 0
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Rebar SD40, 12mm dia. | KG. | 951 | 22.5 | 4.5 | 27 | 25677
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Rebar SD40, 16mm dia. | KG. | 1730 | 22 | 4.5 | 26.5 | 45845
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Rebar SD50, 20mm dia. (SD 40) | KG. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Rebar SD50, 25mm dia.(SD 40) | KG. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Rebar SD50, 28mm dia.(SD 40) | KG. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUBSTRUCTURE | FOUNDATION | Foundation [FF2] | Rebar SD50, 32mm dia. | KG. | 0 | 22.5 | 4.5 | 27 | 0
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Concrete 320ksc. cylinder test ผสมน้ำยากันซึม | M3 | 235 | 1985 | 245 | 2230 | 524050
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Formworks | M2 | 1478 | 210 | 240 | 450 | 665100
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Rebar SR24, 6mm dia. | Kg. | 0 | 24 | 5 | 29 | 0
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Rebar SR24, 9mm dia. | Kg. | 2732 | 23 | 5 | 28 | 76496
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Rebar SD40, 10mm dia. | Kg. | 0 | 23 | 5 | 28 | 0
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Rebar SD40, 12mm dia. | Kg. | 7998 | 22.5 | 4.5 | 27 | 215946
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Rebar SD40, 16mm dia. | Kg. | 30373 | 22 | 4.5 | 26.5 | 804884.5
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Rebar SD50, 20mm dia. (SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Rebar SD50, 25mm dia.(SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Rebar SD50, 28mm dia.(SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | RC Wall [Wx] | Rebar SD50, 32mm dia. | Kg. | 0 | 22.5 | 4.5 | 27 | 0
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | Moisture Protection | Waterproof membrane to external wall. | M2 | 712 | 255 | 60 | 315 | 224280
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | Moisture Protection | Chemical coating to internal wall. | M2 | 611 | 255 | 60 | 315 | 192465
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | Moisture Protection | Water stop RX101-3/4" x 1" or Equivalent | M | 186 | 235 | 135 | 370 | 68820
EXTERNAL | SUBSTRUCTURE | BASEMENT WALL (EARTH RETAINING WALL) | Additional Items | Protection For Waterproof membrane to external wall. | M2 | 712 | 140 | 175 | 315 | 224280
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Compacted soil | M3 | 1210 | 0 | 35 | 35 | 42350
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Compacted sand | M2 | 1254 | 585 | 110 | 695 | 871530
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Lean concrete, 30mm thick | M2 | 1232 | 1635 | 665 | 2300 | 2833600
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Concrete 210ksc. cylinder test | M3 | 0 | 1820 | 245 | 2065 | 0
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Concrete 320ksc. cylinder test | M3 | 396 | 1985 | 245 | 2230 | 883080
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Formworks | M2 | 189 | 210 | 240 | 450 | 85050
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Rebar SR24, 6mm dia. | Kg. | 0 | 24 | 5 | 29 | 0
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Rebar SR24, 9mm dia. | Kg. | 710 | 23 | 5 | 28 | 19880
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Rebar SD40, 10mm dia. | Kg. | 0 | 23 | 5 | 28 | 0
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Rebar SD40, 12mm dia. | Kg. | 43166 | 22.5 | 4.5 | 27 | 1165482
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Rebar SD40, 16mm dia. | Kg. | 3230 | 22 | 4.5 | 26.5 | 85595
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Rebar SD50, 20mm dia. (SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Rebar SD50, 25mm dia.(SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Rebar SD50, 28mm dia.(SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | RC Slab including pile cap | Rebar SD50, 32mm dia. | Kg. | 0 | 22.5 | 4.5 | 27 | 0
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Moisture Protection | Damp-proof sheet, 0.2mm thick HDPE | m2 | 0 | 0 | 0 | 0 | 0
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Additional Items | Waterproof (Internal Retention pond) Radcon #7 | m2 | 429 | 210 | 45 | 255 | 109395
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Additional Items | Waterproof membrane to external Floor | m2 | 266 | 255 | 60 | 315 | 83790
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Additional Items | Road - Isolation Joint | m | 203 | 60 | 60 | 120 | 24360
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Additional Items | Road - Longitudinal Joint | m | 202 | 255 | 60 | 315 | 63630
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Additional Items | Road - Expansion Joint | m | 62 | 295 | 60 | 355 | 22010
EXTERNAL | SUBSTRUCTURE | LOWEST SLAB CONSTRUCTION | Additional Items | Road - Constuction Joint | m | 202 | 255 | 60 | 315 | 63630
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Concrete 210ksc. cylinder test | M3 | 0 | 0 | 0 | 0 | 0
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Concrete 320ksc. cylinder test | M3 | 44 | 1985 | 205 | 2190 | 96360
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Formworks | M2 | 303 | 160 | 200 | 360 | 109080
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SR24, 6mm dia. | Kg. | 0 | 24 | 5 | 29 | 0
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SR24, 9mm dia. | Kg. | 2084 | 23 | 5 | 28 | 58352
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD40, 10mm dia. | Kg. | 0 | 23 | 5 | 28 | 0
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD40, 12mm dia. | Kg. | 1671 | 22.5 | 4.5 | 27 | 45117
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD40, 16mm dia. | Kg. | 1974 | 22 | 4.5 | 26.5 | 52311
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD50, 20mm dia. (SD 40) | Kg. | 4308 | 22 | 4.5 | 26.5 | 114162
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD50, 25mm dia.(SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD50, 28mm dia.(SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUPERSTRUCTURE | BEAM | RC Beam | Rebar SD50, 32mm dia. | Kg. | 0 | 22.5 | 4.5 | 27 | 0
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Concrete 210ksc. cylinder test | M3 | 0 | 0 | 0 | 0 | 0
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Concrete 320ksc. cylinder test | M3 | 81 | 1985 | 205 | 2190 | 177390
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Formworks | M2 | 315 | 160 | 200 | 360 | 113400
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SR24, 6mm dia. | Kg. | 0 | 24 | 5 | 29 | 0
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SR24, 9mm dia. | Kg. | 0 | 23 | 5 | 28 | 0
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD40, 10mm dia. | Kg. | 0 | 23 | 5 | 28 | 0
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD40, 12mm dia. | Kg. | 7166 | 22.5 | 4.5 | 27 | 193482
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD40, 16mm dia. | Kg. | 561 | 22 | 4.5 | 26.5 | 14866.5
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD50, 20mm dia. (SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD50, 25mm dia.(SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD50, 28mm dia.(SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUPERSTRUCTURE | SLAB | RC Slab | Rebar SD50, 32mm dia. | Kg. | 0 | 22.5 | 4.5 | 27 | 0
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Concrete 210ksc. cylinder test | M3 | 0 | 1820 | 205 | 2025 | 0
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Concrete 320ksc. cylinder test | M3 | 13 | 1985 | 205 | 2190 | 28470
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Formworks | M2 | 257 | 160 | 200 | 360 | 92520
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Rebar SR24, 6mm dia. | Kg. | 0 | 24 | 5 | 29 | 0
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Rebar SR24, 9mm dia. | Kg. | 963 | 23 | 5 | 28 | 26964
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Rebar SD40, 10mm dia. | Kg. | 0 | 23 | 5 | 28 | 0
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Rebar SD40, 12mm dia. | Kg. | 0 | 22.5 | 4.5 | 27 | 0
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Rebar SD40, 16mm dia. | Kg. | 3002 | 22 | 4.5 | 26.5 | 79553
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Rebar SD50, 20mm dia. (SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Rebar SD50, 25mm dia.(SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Rebar SD50, 28mm dia.(SD 40) | Kg. | 0 | 22 | 4.5 | 26.5 | 0
EXTERNAL | SUPERSTRUCTURE | COLUMN | RC Column | Rebar SD50, 32mm dia. | Kg. | 0 | 22.5 | 4.5 | 27 | 0